## Doors (hidden)
| Area |  |  | GF | 1F | 2F | 3F | 4F | 5F | 6F | 7F | 8F | 9F | 10F | Ter |  | Total | G | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th
Door - D1 | 1.89 | 3800 | 7182 | 3 | [12 empty] | 3 | 5.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Door - D2 | 1.47 | 3800 | 5586 | 2 | [12 empty] | 2 | 2.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- W1 | 1.68 | 3800 | 6384 | 5 | [12 empty] | 5 | 8.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- W2 | 0.77 | 3800 | 2926 | 2 | [12 empty] | 2 | 1.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- V1 | 0.3025 | 3801 | 1149.8025 | 2 | [13 empty] | 0.605
0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 10.545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## cal (hidden)
[5 empty] | Excavation | Lean | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
FOUNDATION LEVEL
RAFT |  |  |  |  | 0 | [5 empty] | 0
0
F1 | 0.6 | 0.6 | 0.2 | 28 | 7.56 | 0.504 | 2.016 | 13.44 | 0 | 0 | 0 | 35.28 | 0 |  | 6.4
0
[5 empty] | 0 | 0.504 | 2.016 | 13.44 | 0 | 0 | 0 | 0.18804 | 0 |  | 0.005328
F2 |  |  | 0.25 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F3 |  |  | 0.25 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TB1 | 18.24 | 0.2 | 0.2 | 1 | 2.1888 | 0.1368 | 0.7296 | 7.296 | 0 | 0 | 0 | 18.24 | 0 | 24.32
[9 empty] | 0 | 0 | 0 | 0.097219 | 0 | 0.032394
TB2 |  | 0.3 | 0.15 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0
RCC WALL FOR BASE MENT |  |  |  |  | steel | f.work
69.9
Stair Starter Beam | 1.95 | 0.15 | 0.3 | 1 | 0 | 0 | 0.08775 | 1.435 |  |  |  | 3.51 | 1.17
[7 empty] | 0 | 0 |  |  |  | 18.7013 | 4.4203
[7 empty] | 0.08775 | 1.435 |  |  |  | 0.018701 | 0.0044203
0
1.638
4.914
C1 | 2 | 0.2 | 0.2 | 0.65 |  |  | 0.052 | 0.78 | 0 | 0 | 0 | 4.6667 | 4.6667 | 2.1667 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002886
C2 |  | 0.15 | 0.3 |  |  |  | 0 | 0 |  | 0 | 0 | 0 |  | 0 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0 |  | 0.75
C3 |  | 0.2 | 0.6 |  |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.6 |  |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C5 | 0 | 0.75 | 0.35 | 0.8 |  |  | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  |  | 0
C6 | 0 | 0.75 | 0.35 | 1.1 |  |  | 0 | 0 |  | 0 |  |  |  | 0
[7 empty] | 0.052 | 0.78 | 0 | 0 | 0 | 0 | 0 | 0.002886
Lift well |  |  |  | 1.35 |  |  | 0 | 0 |  |  |  | 0 | 0
|  | 0.15 | 1 | 1.35 |  |  | 0 | 0 |  |  |  | 0 | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
236190
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GROUND FLOOR |  |  | 4.4 | [6 empty] | 0 |  |  | 0
C1 | 6 | 0.2 | 0.2 | 3.8 |  |  | 0.912 | 13.68 | 0 | 0 | 0 | 24 | 0 | 27.8667
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0.12792 | 0 | 0.037118
C2 | 0 | 0.15 | 0.3 | 3.298 |  |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
C3 |  | 0.2 | 0.6 | 0.8 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.6 | 0.8 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C5 | 0 | 0.75 | 0.35 | 0.8 |  |  | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  |  | 0
C6 | 0 | 0.75 | 0.35 | 1.1 |  |  | 0 | 0 |  | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 1.2 | 1 | 1 |  | 0.27 | 1.8 |  |  |  |  | 0.22314
[7 empty] | 1.2573 | 10.5157
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 15.3 |  |  |  | 0 | 0.094477
[7 empty] | 0 | 0 |  |  |  | 0 | 0
Lift well | 5.2 | 0.15 | 1 | 2.87 |  |  | 2.2386 | 29.848 |  |  |  | 0.23863 | 0.18431
[7 empty] | 2.2386 | 29.848 | 0 | 0 | 0 | 0.23863 | 0.18431
[7 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
B1 | 18.24 | 0.2 | 0.3 |  | 0.9 |  | 1.0944 | 16.416 | 0 | 0 | 0 | 0.14583 |  | 0.060739 | 1.04
B2 |  | 0.2 | 0.3 |  | 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B3 |  | 0.2 | 0.3 |  | 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B4 |  | 0.2 | 0.3 |  | 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CB1 |  | 0.2 | 0.3 |  | 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0.3 |  | 0.7 |  | 0 | 0
|  |  | 0.3 |  | 0.7 |  | 0 | 0
| 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 18.24 |  |  | 3.648 |  |  |  | 0
0
Slab | [10 empty] | 0.92524 | [5 empty] | 5
|  | 84.403 | 0.3 | 25.3209 |  |  | 25.3209 | 106.6072 | For steel |  |  |  | 2.0129 |  |  |  | 20
| OPEN | 13.32 | 0.24 | 3.1968 |  |  | 3.1968 |  | 118.4 | [6 empty] | 14.224 | 3.3333
116.92 |  | 12.5322 | 0.265 | 3.321 |  |  | 3.321 | [8 empty] | 12.161 | 4
119.2 |  | 8.1448 | 0.315 | 2.5656 |  |  | 6.5823 | 2.5656
-0.8 |  | 13.53 | 0.0065 | 0.087945 |  |  | 0.0077343 | 1.7589
OPEN AREA | 0 | [5 empty] | 0 | 0 | [9 empty] | 97.723
[7 empty] | 38.4288 | 106.6072 |  |  |  |  | 2.0129 |  |  |  |  | 1402.0652
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
FIRST FLOOR
C1 | 18 | 0.25 | 0.2 | 2.57 |  |  | 2.313 | 30.069 | 0 | 0 | 0 | 45 |  | 41.12 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0.23985 |  | 0.054772
C2 |  |  |  | 2.57 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0 |  | 0.75
C3 |  |  | 0.6 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C4 |  |  | 0.6 | 2.6 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[10 empty] | 0 | 0 |  |  | 0
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.17851 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
Lift well | 19.3 | 0.15 | 1 | 3.25 |  |  | 9.4087 | 125.45 |  |  |  | 1.003 | 0.77465
[7 empty] | 9.4087 | 125.45 | 0 | 0 | 0 | 1.003 | 0.77465
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
SECOND SLAB
B1 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B2 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B3 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B4 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B4a |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B4b |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B7 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B8 |  | 0.15 | 0.17 |  | 0.72 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B9 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CB1 | 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 |  |  |  | 0
[8 empty] | 0 |  |  | 0
Slab | [10 empty] | 0
| 74.0506 | 72.8506 | 0.13 | 9.4706 |  |  | 9.4706 | 74.0506 | For steel |  |  |  | 1.5107
| OPEN | 1.2 | 0.15 | 0.18 |  |  | 0.18 |  | 74.0506
804.8982 | [6 empty] | 0 | 0
[7 empty] | 0 | 0
OPEN AREA | 0 | [5 empty] | 0 | 0
[7 empty] | 9.6506 | 74.0506 |  |  |  |  | 1.5107
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Parapet wall |  | 19.5 | 1.2 | 0.1 |  |  | 2.34 | 46.8 |  |  |  |  | 0.44203
Lift well | 19.3 | 0.15 | 1 | 3.25 |  |  | 9.4087 | 125.45 |  |  |  | 1.003 | 0.77465
[7 empty] | 9.4087 | 125.45 | 0 | 0 | 0 | 1.003 | 0.77465
2nd -4th
C1 | 16 | 0.2 | 0.4 | 2.6 |  |  | 3.328 | 41.6 | 0 | 41.6 | 0 |  |  | 73.9556 | 2.041
[9 empty] | 0 | 0.61568 | 0 |  |  | 0.098509
C2 |  | 0.2 | 0.6 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C3 |  | 0.2 | 0.45 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.35 | 2.6 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[10 empty] | 0 | 0 |  |  | 0
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
0.2875
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.21421 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
2ND-9TH SLAB
B1 | 27.052 | 0.2 | 0.265 |  | 0.865 |  | 1.4338 | 23.4 | 0 | 0 | 0.38419 | 0 |  | 0.048044 | 1.04
B2 | 8.667 | 0.2 | 0.265 |  | 0.865 |  | 0.45935 | 7.497 | 0 | 0 | 0.12309 | 0 |  | 0.036942
B3 | 51.003 | 0.2 | 0.265 |  | 0.865 |  | 2.7032 | 44.1176 | 0 | 0 | 0.40241 | 0 |  | 0.090581
B4 | 4.718 | 0.2 | 0.265 |  | 0.865 |  | 0.25005 | 4.0811 | 0 | 0 | 0.081895 | 0 |  | 0.016758
B4a | 1.732 | 0.2 | 0.265 |  | 0.865 |  | 0.091796 | 1.4982 | 0 | 0 | 0.024598 | 0 |  | 0.0061521
B4b | 2.1 | 0.2 | 0.265 |  | 0.865 |  | 0.1113 | 1.8165 | 0 | 0 | 0.024854 | 0 |  | 0.0037296
B7 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B8 |  | 0.15 | 0.17 |  | 0.72 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B9 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CB1 | 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 95.272 | 0.2 |  | 19.0544
[8 empty] | 0 |  |  | 0.024598
Slab | [10 empty] | 0.00023289
| 133.9051 | 118.3183 | 0.135 | 15.973 |  |  | 15.973 | 118.3183 | For steel |  |  |  | 2.4138
| OPEN | 0 | 0.16 | 0 |  |  | 0 |  | 118.3183
13.1112
[7 empty] | 0 | 0
[7 empty] | 0 | 0
3.3
OPEN AREA | 16.4112 | [5 empty] | 0 | 0
[7 empty] | 15.973 | 118.3183 |  |  |  |  | 2.4138
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Parapet wall |  | 19.5 | 1.2 | 0.1 |  |  | 2.34 | 46.8 |  |  |  |  | 0.44203
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
Above 5th floor slab
C1 | 16 | 0.2 | 0.4 | 2.6 |  |  | 3.328 | 41.6 | 0 | 41.6 | 0 |  |  | 73.9556 | 2.041
[9 empty] | 0 | 0.61568 | 0 |  |  | 0.098509
C2 |  | 0.2 | 0.4 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C3 |  | 0.2 | 0.3 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.25 | 2.6 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[10 empty] | 0 | 0 |  |  | 0
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.17851 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
2ND-9TH SLAB
B1 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B2 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B3 |  | 0.15 | 0.27 |  | 0.82 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B4 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B5 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B6 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B7 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B8 |  | 0.15 | 0.17 |  | 0.72 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B9 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CB1 | 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13.3333
| 0 | 0.2 |  | 0 | [8 empty] | 26.6667
|  | 261.8 | [5 empty] | 0 |  |  | 0 |  | 4.4444 | 8.8889
Slab |  | 167.86 | [8 empty] | 0
| 115 | 111.5476 | 0.13 | 14.5012 |  |  | 14.5012 | 111.5476 | For steel |  |  |  | 2.2757
| OPEN | 0 | 0.16 | 0 |  |  | 0 |  | 111.5476
98.98 | 3.0477
163.71 | 2.31 | [5 empty] | 0 | 0
| 3.2 | [5 empty] | 0 | 0
OPEN AREA | 8.5577 | [5 empty] | 0 | 0
|  |  |  | 4.16 |  |  | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 14.5012 | 0 |  |  |  |  | 0
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
6th -9TH floor slab
C1 | 16 | 0.2 | 0.4 | 2.6 |  |  | 3.328 | 41.6 | 0 | 41.6 | 0 |  |  | 73.9556 | 2.041
[9 empty] | 0 | 0.61568 | 0 |  |  | 0.098509
C2 |  | 0.2 | 0.4 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C3 |  | 0.2 | 0.3 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.25 | 2.6 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[10 empty] | 0 | 0 |  |  | 0
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
C1 | 4 | 0.2 | 0.4 | 2.6 |  |  | 0.832 | 10.4 | 0 | 10.4 | 0 |  |  | 18.4889 | 2.041
[9 empty] | 0 | 0.15392 | 0 |  |  | 0.024627
C5 |  | 0.35 | 0.35 | 2.93 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
Lift well | 6.9 | 0.15 | 1 | 3.25 |  |  | 3.3638 | 44.85 |  |  |  | 0.35858 | 0.27695
[7 empty] | 3.3638 | 44.85 | 0 | 0 | 0 | 0.35858 | 0.27695
B1 | 35.01 | 0.225 | 0.325 |  | 1 |  | 2.5601 | 35.01 | 0 | 0.77722 | 0 |  |  | 0.34975 | 1.04
B2 | 28.3 | 0.25 | 0.45 |  | 1.25 |  | 3.1837 | 35.375 | 0.76268 | 0.13961 | 0.22329 | 0 |  | 0.30156
B3 | 24.111 | 0.225 | 0.325 |  | 1 |  | 1.7631 | 24.111 | 0 | 0.29737 | 0 | 0 |  | 0.08029
B4 | 32 | 0.2 | 0.325 |  | 1 |  | 2.08 | 32 | 0 | 0 | 0.37872 | 0 |  | 0.14208
B5 | 3.2 | 0.2 | 0.325 |  | 1 |  | 0.208 | 3.2 | 0 | 0.031573 | 0.025248 | 0 |  | 0.010656
B6 | 8.762 | 0.225 | 0.325 |  | 1 |  | 0.64072 | 8.762 | 0 | 0 | 0.069132 | 0 |  | 0.014589
CB1 | 2.2 | 0.2 | 0.325 |  | 1 |  | 0.143 | 2.2 | 0 | 0.0407 | 0 | 0 | 0 | 0.019536
| 133.583 | 0.2 | 26.7166
Above Terrace
Lift well |  | 0.15 | 3.683 |  |  |  | 0 | 0 |  |  |  | 0 | 0
RB1 | 18.24 | 0.2 | 0.15 |  | 0.75 |  | 0.5472 | 13.68 | 0 | 0 | 0 | 0.081016 | 0 | 0.029695 | 1.04
RB2 |  |  |  |  | 0.6 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
RB3 |  |  |  |  | 0.6 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 | 0 | 0
[7 empty] | 0.5472 | 13.68 |  |  | 0 | 0.081016 | 0 | 0.029695
Parapet wall Terrace |  | 10.399 | 0.15 | 1 |  |  | 1.5598 | 20.798 |  |  | 0.10256 |  | 0.11786 | 0.017699
|  | 0 | 2 | 0.1 |  |  | 0 | 0 |  |  |  |  | 0
[7 empty] | 1.5598 | 20.798 |  |  | 0.10256 | 0 | 0.11786 | 0.017699
112.608 |  |  |  | FINISHING WORK
124.032 | [6 empty] | 1.62 | 135.05
masonry |  |  |  |  | msonry | plaster | screed | toilet floor |  |  | toilet wall | floor
200mm | 18.24 | 3.298 | 60.1555 |  | 60.1555 | 60.1555 | 20.7 | 3.75 | 20.8 |  | 20.8 | 16.95
100mm | 4 | 3.298 | 13.192 |  | 13.192 | 73.3475 | [11 empty] | 119.3888
165.4226
22.24
84.403 | [6 empty] | 3.747
13.32
12.5322
8.1448
1.353 | 31.25 | 1 | 1 | 1 | 31.25 | 62.5 | 0 |  |  |  |  | 0
|  |  | 0 | 0 | 0 | 0 | 0
| 13.468 | 9.774 | [11 empty] | 384
Roof ing | 131.6362 | 11.5 | 1513.8167 | [10 empty] | 116.736 |  | 0
c purlin | 438.7874 | 1 | 438.7874 |  |  | 14.375
facia bord | 40.484 |  |  |  |  | 1892.2708
| 13.2978 | 129.9725

## SUmmary
SINGLE STOREY BUILDING. @ M.MADUVAREE
02 BEDROOM APRARTMENT BUILDING PROJECT
CLIENT: MULAKATHOLU MADUVAREE COUNCIL.
SUMMARY OF BILLS OF QUANTITIES
BILL NO | DESCRIPTION | MATERIAL AMOUNT MVR | LABOUR AMOUNT MVR | TOTAL AMOUNT MVR
1 | PRELIMINARIES | 0 | 0 | 0
2 | GROUND WORKS | 0 | 0 | 0
3 | CONCRETE WORK | 0 | 0 | 0
4 | MASONRY AND PLASTERING | 0 | 0 | 0
5 | METAL WORKS | 0 | 0 | 0
6 | ROOFING WORKS | 0 | 0 | 0
7 | CEILING WORKS | 0 | 0 | 0
8 | DOORS AND WINDOWS | 0 | 0 | 0
9 | FINISHES | 0 | 0 | 0
10 | HYDRAULICS AND DRAINAGE | 0 | 0 | 0
11 | PAINTING WORKS | 0 | 0 | 0
12 | ELECTRICAL INSTALLATIONS | 0 | 0 | 0
PROJECT VALUE TOTAL |  | 0 | 0 | 0
GST 8% |  | 0 | 0 | 0
GRAND TOTAL |  | 0 | 0 | 0

## MATERIAL LIST (hidden)
0
MATERIAL LIST
Item | Description | Qty | Unit | Rate | Amount
CONCRETE
a ) | MATERIALS FOR
b ) | Reinforced Concrete
| Cement | 240.8055 | Bags
| Sand | 481.6109 | Bags
| Aggrecate | 1444.8328 | Bags
1.1 | DAMP PROOF MEMBRANE
1 | Polythene sheet to over lean concrete and to sides to receive foundations Under Ground Slab | 326.96 | m²
| Polythene sheet 500gage | 162.1854 | Sq.mtrs
1.2 | All (Reinforcement)
1 | 12 mm dia bars | 15.5551 | Nos
2 | 10 mm dia bars | 0 | Nos
3 | 6 mm dia bars | 193.059 | Nos
4 | Binding Wire | 31.2921 | Kgs
1.3 | All (Formwork)
| 12mm thick plywood | 29.3817 | nos
| Timber 50 x38mm | 29.9064 | cu.ft
| Nail 25 - 75mm | 23.5054 | kg
| Form oil | 7.3454 | ltr
MASONRY AND PLASTERING
a ) | Masonry
| Cement Solid Block 4" x 6" x 12" | 8826.4 | Bags
| Cement | 73.5533 | Bags
| Sand | 367.7667 | Bags
b ) | Plastering
| Cement | 56.743 | Bags
| Sand | 226.9721 | Bags
c ) | Screed Flooring
| Cement | 12.8025 | Bags
| Sand | 51.21 | Bags
ROOFING
| Timber purlins, 50 x 35 mm. | 245.3082 | mtrs
| Timber ridge 75 x 200 mm. | 7.347 | mtrs
| Timber rafters, 50 x 150 mm. | 122.6541 | mtrs
| Timber wall plate, 100 x 75 mm. | 14.874 | mtrs
| Timber fascia board, 25 x 250 mm. | 14.874 | mtrs
| Aluminium roof sheets Roof Coverings | 112.4909 | m²
| Flshing | 30.05 | mitrs
| Ridge capping | 7.437 | mitrs
| 200mm lysaght gutter | 14.874 | mitrs
CEILING WORKS
| Gypsum Board 9mm thick | 3.8643 | nos
| Timber purlins, 50 x 35 mm. | 245.3082 | mtrs
| Black Screws 1" | 193.2143 | nos
| Self- Tapping screws 2" | 96.6071 | nos
DOORS AND WINDOWS
| Door - D1 | 1 | Nos
| Door - D2 | 2 | Nos
| Door - D3 | 3 | Nos
| Door - D4 | 3 | Nos
| Window- W1 | 1 | Nos
| Window- W2 | 2 | Nos
| Window- W3 | 2 | Nos
| Window- W4 | 1 | Nos
| Window- W5 | 2 | Nos
| Window- W6 | 1 | Nos
TILING
| 600mm x 600mm Homogenous tiles on floor | 442.9527 | nos
| 300mm x 600mm Non-skid ceramic tiles on Toilet floor | 39.4286 | nos
| 300 x 600 ceramic tile finish on toilet walls | 123.975 | nos
| Tiling adhessive -25kgs | 56.9868 | Bags
PAINTING
| Wall sealer | 60.5738 | litrs
| Exterior wall Paint | 38.0204 | litrs
| Interior Wall Paint | #REF! | litrs
| Wall -Putty | #REF! | kgs
PLUMBING WORKS
| 4" Dia Upvc Pipe | 6 | nos
| 3" Dia Upvc Pipe | 3 | nos
| 2" Dia Upvc Pipe | 3 | nos
| 1- 1/4" Dia Upvc Pipe | 3 | nos
| 1" Dia Upvc Pipe | 6 | nos
| 3/4" Dia Upvc Pipe | 12 | nos
| 4" Dia Upvc Joint socket | 2 | nos
| 3" Dia Upvc Joint socket | 2 | nos
| 2" Dia Upvc Joint socket | 4 | nos
| 1- 1/4" Dia Upvc Joint socket | 4 | nos
| 1" Dia Upvc Joint socket | 6 | nos
| 3/4" Dia Upvc Joint socket | 12 | nos
| 4" Dia Upvc Elbow | 2 | nos
| 3" Dia Upvc Elbow | 2 | nos
| 2" Dia Upvc Elbow | 4 | nos
| 1- 1/4" Dia Upvc Elbow | 4 | nos
| 1" Dia Upvc Elbow | 6 | nos
| 3/4" Dia Upvc Elbow | 12 | nos
| 3/4" Dia Upvc Thread Elbow(Faucet Socket) | 9 | nos
| Thread Seal | 6 | Roll
| PVC Glue 500ml | 3 | Tin
ELECTRICAL INSTALLATIONS
| Ceiling Fan | 4 | nos
| 20w Ceiling Recessed Light | 16 | nos
| Emergency Light | 2 | nos
| 12w Ceiling Recessed Light | 8 | nos
| One way switch(1 gang) | 16 | nos
| One way switch(2 gang) | 10 | nos
| Wall socket outlet, single gang 13A | 12 | nos
| Wall socket outlet, double gang 13A | 8 | nos
| Water Proof socket outlet, Double gang 13A | 4 | nos
| Socket outlet, Single gang 15A | 4 | nos
| Insulation tape | 16 | Roll
| Electrical Wire's 2.5mm3 | 15.6 | Roll
| Supply Wire 6mm3 | 1 | Roll
| Main- Supply wire | 50 | mtrs
| Distribution board -32 CB | 1 | Box
| ELCB | 24 | nos
| MCB | 2 | nos

## BOQ
Item | Description | Qty | Unit | MATERIAL RATE | LABOUR RATE | MATERIAL AMOUNT | LABOUR AMOUNT | TOTAL AMOUNT
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
1 | Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item |  |  | 0 | 0 | 0
1.3 | SIGN BOARD
1 | Allow for sign board. | 1 | Nos. |  |  | 0 | 0 | 0
1.4 | CLEAN - UP
| Allow for clean up of completed works and site upon completion | 1 | Item |  |  | 0 | 0 | 0
BILL No: 01 - PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; levelin, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
2.1 | SITE CLEARING
1 ) | Demolition of any existing buildings and removal of those material from the site. Removing and clearing any shrubs or trees from the site. | 148.6449 | m² |  |  | 0 | 0 | 0
2.2 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches and others
Excavation for foundation
1 ) | Foundation Beam -FB | 8.8013 | m³ |  |  | 0 | 0 | 0
2 ) | Boundary wall Foundation Beam - BWF | 6.7056 | m³ |  |  | 0 | 0 | 0
2.3 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Apply 2 coats of water proofing paint on all concrete surfaces below finished floor level in accordance with BS 8102 standards | 1 | Item |  |  | 0 | 0 | 0
2.4 | BACK FILLING
Rates shall include for levelling, grading, trimming and compacting.
1 | Sand filling upto 200mm including compaction as per specification, to receive ground slab | 1 | item |  |  | 0 | 0 | 0
BILL No: 02 - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
3.2 | LEAN CONCRETE
Note: Quantity is measured to the edges of concrete members.
1 ) | 50mm thick lean concrete to bottom of foundation pads and beams | 0.67702 | m³ |  |  | 0 | 0 | 0
3.3 | DAMP PROOF MEMBRANE
Damp prof membrane to bottom of concrete elements as per specification
1 | Polythene sheet 500 gauge to foundations | 162.1854 | m² |  |  | 0 | 0 | 0
3.4 | REINFORCED CONCRETE
In-situ reinforced concrete to:
3.4.1 | Foundation level
1 ) | Foundation Beam | 4.0621 | m³ |  |  | 0 | 0 | 0
2 ) | Boundary wall Foundation Beam - BWF | 6.7056 | m³ |  |  | 0 | 0 | 0
3 ) | Boundary wall Copping | 1.0973 | m³ |  |  | 0 | 0 | 0
3.4.2 | Ground Floor
1 | Ground Slab | 14.8645 | m³ |  |  | 0 | 0 | 0
2 | Column's | 1.782 | m³ |  |  | 0 | 0 | 0
3 | Roof Beam (WCB) | 2.2567 | m³ |  |  | 0 | 0 | 0
3.5 | REINFORCEMENT
GENERAL
(a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage
(b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars.
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
3.5.1 | Foundation level
1 ) | Foundation Beam
| 12 mm dia. Bars | 0.2612 | t |  |  | 0 | 0 | 0
| 6mm dia bars | 0.083363 | t |  |  | 0 | 0 | 0
2 ) | Boundary wall Foundation Beam - BWF | 0.21167
| 12 mm dia. Bars | 0.21167 | t |  |  | 0 | 0 | 0
| 6mm dia bars | 0.10115 | t |  |  | 0 | 0 | 0
3.5.2 | Ground Floor
1 | Ground Slab
| 06 mm dia. Bars | 0.18392 | t |  |  | 0 | 0 | 0
2 | Column |  |  |  |  | 0 | 0 | 0
| 12 mm dia. Bars | 0.375 | t |  |  | 0 | 0 | 0
| 6mm dia bars | 0.16133 | t |  |  | 0 | 0 | 0
3 | Roof Beam (WCB)
| 12 mm dia. Bars | 0.2612 | t |  |  | 0 | 0 | 0
| 6mm dia bars | 0.083363 | t |  |  | 0 | 0 | 0
3.6 | FORM WORK
GENERAL
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, straps, ties, hangers, pipes, edge formwork and removal of formwork.
3.6.1 | Foundation level
1 ) | Foundation Beam | 36.108 | m² |  |  | 0 | 0 | 0
2 ) | Boundary wall Foundation Beam - BWF | 53.6448 | m² |  |  | 0 | 0 | 0
3 ) | Boundary wall Copping | 14.6304 | m² |  |  | 0 | 0 | 0
3.6.2 | Ground Floor
1 | Ground Slab | 12 | m² |  |  | 0 | 0 | 0
2 | Column 50% | 20.79 | m² |  |  | 0 | 0 | 0
3 | Roof Beam (WCB) | 39.117 | m² |  |  | 0 | 0 | 0
BILL No: 03 - CONCRETE
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
4.2.0 | CEMENT BLOCK WORK
1 ) | Masonry Wall - 150mm thick | 198.594 | m² |  |  | 0 | 0 | 0
2 ) | Boundary wall | 97.536 | m² |  |  | 0 | 0 | 0
4.3 | PLASTERING
Plastering on walls and concrete surfaces in accordance with the specifications
4.3.1 | Exterior & Interior surfaces of walls
20mm Thick cement plastering on external surfaces 15mm Thick cement plastering on internal surfaces of walls and concrete column surfaces with 1:4 cement mortar mix as specified including wire mesh at joints of concrete surfaces and masonry walls
1 ) | Exterior surfaces of walls | 114.0612 | m² |  |  | 0 | 0 | 0
2 ) | Interior surfaces of walls | 283.14 | m² |  |  | 0 | 0 | 0
3 ) | Boundary wall | 195.072 | m² |  |  | 0 | 0 | 0
4.4 | FLOORING
4.4.1 | 35mm Thick cement sand screed on concrete floor with 1:4 mortar mix with a smooth finish for general areas
1 | Screed Flooring | 51.21 | m² |  |  | 0 | 0 | 0
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 05
METAL WORKS
5.1 | GENERAL
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing.
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
BILL No: 05 - METAL WORKS
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 06
ROOFING WORKS
6.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
6.2 | Roof frame
1 | Timber Ridge Rafter 200mm x 50mm | 10.54 | m |  |  | 0 | 0 | 0
2 | Timber Rafter 150mm x 50mm @ 750mm c/c | 132.3824 | m |  |  | 0 | 0 | 0
3 | Timber Batten 38mm x 50mm @ 600mm c/c | 165.478 | m |  |  | 0 | 0 | 0
4 | Timber Faciac 25mm x 250mm | 21.28 | m |  |  | 0 | 0 | 0
6.3 | Roof Coverings
1 | Lysaght Roofing sheet installed in accordance to manufacturer,s instructions | 87.389 | m² |  |  | 0 | 0 | 0
6.4 | Capping and Flasihng
1 | Flashing | 38.08 | m |  |  | 0 | 0 | 0
2 | Ridge capping | 10.54 | m |  |  | 0 | 0 | 0
6.5 | Insulation
1 | 25mm thick rock-glass wool insulation | 87.389 | m² |  |  | 0 | 0 | 0
BILL N0: 06 - ROOFING WORKS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 07
CEILING WORKS
7.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
7.2 | Ceilings
Plywood ceiling with timber cornice, including timber framing, trimming, nails, screws and other fixings.
The ceiling frame shall be constructed using 50 X 50 mm timber, and all the frames supported to the walls shall be installed using brass screws and wall plugs.
The bottom framing of the ceiling shall also be completed under the direction of the consultant
1 ) | Cement Board Flat Ceiling | 10.82 | m2 |  |  | 0 | 0 | 0
2 ) | Gypsum Board Flat Ceiling | 51.21 | m2 |  |  | 0 | 0 | 0
BILL N0: 07 - CEILINGWORKS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL N0: 08
DOORS AND WINDOWS
8.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware. These materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for painting timber doors
8.2 | TIMBER DOOR UNITS & ALUMINIUM WINDOW UNITS
1 | Door - D1 | 3 | Nos |  |  | 0 | 0 | 0
2 | Door - D2 | 2 | Nos |  |  | 0 | 0 | 0
3 | Window- W1 | 5 | Nos |  |  | 0 | 0 | 0
4 | Window- W2 | 2 | Nos |  |  | 0 | 0 | 0
5 | Window- V1 | 2 | Nos |  |  | 0 | 0 | 0
BILL N0: 08 -DOORS AND WINDOWS
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL N0: 09
FINISHES
9.1 | GENERAL
Note: Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
9.2 | FLOOR FINISHES
9.2.1 | 600mm x 600mm Homogenous tiles on floor
1 | General Floor | 141.7449 | m² |  |  | 0 | 0 | 0
9.2.2 | 300mm x 600mm Non-skid ceramic tiles on Toilet floor
1 | Toilet floor | 6.9 | m² |  |  | 0 | 0 | 0
9.3 | WALL FINISHES
9.3.1 | 300 x 600 ceramic tile finish on toilet walls
1 | Toilet floor | 22.3155 | m² |  |  | 0 | 0 | 0
BILL No: 09 - FINISHES
| TOTAL OF BILL No: 09- Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 10
HYDRAULICS & DRAINAGE
10.1 | HYDRAULICS
10.1.1 | Preamble notes
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rate shall include for supply and fixing of all pipes
10.1.2 | Internal Plumbing
| Internal plumbing to all toilets & kitchens incl. Supply and laying of pipes. | 1 | Item |  |  | 0 | 0 | 0
10.1.3 | External plumbing
1 | MWSC Water Meter | 1 | Item |  |  | 0 | 0 | 0
2 | Waste water and sewage connection to mains, from all the toilets & sinks inc. supply and laying of pipes including inspection chambers as necessary | 1 | Item |  |  | 0 | 0 | 0
3 | Ground water connection to all toilets and sinks. Rate shall include for supply and laying of pipes. | 1 | Item |  |  | 0 | 0 | 0
9.1.4 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of superior quality. Taps, Hand shower, Head shower and towel bar should be plastic.
1 | Water closet, complete with flush tank | 2 | Nos |  |  | 0 | 0 | 0
2 | Wash basin with drain fixed to counter top | 2 | Nos |  |  | 0 | 0 | 0
3 | Wash basin | 2 | Nos |  |  | 0 | 0 | 0
3 | Wash basin Tap | 2 | Nos |  |  | 0 | 0 | 0
4 | Muslim shower | 2 | Nos |  |  | 0 | 0 | 0
5 | Floor drain with gully trap | 2 | Nos |  |  | 0 | 0 | 0
6 | Head Shower | 2 | Nos |  |  | 0 | 0 | 0
7 | Faucet | 2 | Nos |  |  | 0 | 0 | 0
9 | Mirror | 2 | Nos |  |  | 0 | 0 | 0
10 | Water Taps | 4 | Nos |  |  | 0 | 0 | 0
11 | Valves | 2 | Nos |  |  | 0 | 0 | 0
9.2 | DRAINAGE
9.2.1 | Preamble notes
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
9.2.2 | Inspection chambers
1 | Supply and installation of inspection chamber as shown in the drawings according to specifications | 2 | Nos |  |  | 0 | 0 | 0
BILL No: 09 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 10
PAINTING
10.1 | GENERAL NOTE
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
10.2 | WALLS AND CONCRETE SURFACES
Emulsion paint finish on cement plastered walls and concrete column surfaces. Exterior walls should be applied with weather proof paint.
1 coat of wall sealer, 1 coat of textured and two coats of paint
EXTERIOR WALL
1 | Exterior | 114.0612 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
| INTERIOR WALL |  |  |  |  | 0 | 0 | 0
1 | Interior | 283.14 | m² |  |  | 0 | 0 | 0
10.3 | CEILING / SOFFIT OF SLAB
Emulsion paint finish after grinding and application of putty.
1 | Emulsion putty paint finish . | 87.389 | m² |  |  | 0 | 0 | 0
BILL No: 10 - PAINTING
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL No: 11
ELECTRICAL INSTALLATIONS
11.1 | GENERAL
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
11.2 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | 400mm x 600mm Main electrical DB | 1 | Nos |  |  | 0 | 0 | 0
2 | Supply and installation of the electrical distribution board and earth rod with all the accessories to meet below 5 Ohms earth resistance. | 1 | Nos |  |  | 0 | 0 | 0
3 | 16sqmm armoured 4 core cable, copper cable with 150m length | 1 | Item |  |  | 0 | 0 | 0
11.3 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations.
1 | Wiring to lights | 27 | points |  |  | 0 | 0 | 0
2 | Wiring to power points | 12 | points |  |  | 0 | 0 | 0
3 | Wiring to Distribution boards | 1 | nos |  |  | 0 | 0 | 0
11.4 | LIGHTING, POWER POINTS & FANS
1 | Ceiling Fan 1200mm dia | 3 | nos |  |  | 0 | 0 | 0
2 | Waterproof Outdoor Wall Mount LED lights | 6 | nos |  |  | 0 | 0 | 0
3 | Ceiling Mount LED light | 18 | nos |  |  | 0 | 0 | 0
4 | One way switch(1 gang) | 6 | nos |  |  | 0 | 0 | 0
5 | One way switch(2 gang) | 9 | nos |  |  | 0 | 0 | 0
6 | Wall socket outlet, single gang 13A | 6 | nos |  |  | 0 | 0 | 0
7 | Wall socket outlet, double gang 13A | 2 | nos |  |  | 0 | 0 | 0
8 | Water Proof socket outlet, single gang 16A(AC & Water heater) | 4 | nos |  |  | 0 | 0 | 0
9 | 16000 Btu split Type Wall mount Airconditioner | 3 | nos |  |  | 0 | 0 | 0
BILL No: 11 - ELECTRICAL INSTALLATION
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  |  | 0 | 0 | 0